| Department of Health and Human Services Virginia Betteridge Commissioner Liaison Caryelle Lasher, MPH Director Paschal Nwako, Ph.D., MPH County Health Officer | www.camdencounty.com | Division of Environmental & Consumer Health Services DiPiero Center, Suite 305 512 Lakeland Road Blackwood, NJ 08012 Local Toll Free 1-800-999-9045 Main 856-374-6000 Septic & Well Unit 856-374-6064 Fax 856-374-6212 |
| --- | --- | --- |
| FOR OFFICIAL USE, ONLY: _____#2_____#3 _____Pinelands Copy |

FORM 1

General Information

1. Type of Septic Permit Needed (Check applicable categories):

(  New Construction		(  Alteration/No Expansion or Change in Use	(  Alteration/Expansion or Change of Use

(  Alteration/Malfunctioning System	( Deviation from Standards		(  Repairs to Existing System

2.  Location of Project:

Municipality:    ________________________________	Block No.  _____________________	Lot No. _______________________

Street Address _________________________________________________________________________________________________

________________________________________________________  Zip Code: _______________________________

3.  Name of Applicant (print)	_______________________________________________________________________________

4.  Applicant’s Present Address:	_______________________________________________________________________________				_______________________________________________Zip Code:_______________________

5.  Applicant’s Phone Number:	_______________________________________________________________________________

6.  Type of Facility:	(  Residential	(  Commercial/Institutional (Specify type)  _________________________________

7.  System type: 		(Gravity  (Gravity Dosing  (Pressure Dosing   (Advanced Treatment Unit  (Other____________

8.  Type of Wastes to be Discharged:	(Sanitary Sewage     (Industrial Wastes    (Other-Specify Type:  _____________________

9.  Other Approvals/Certifications/Waivers/Exemptions (Attach to Application):	    (  Pinelands Commission

(  U.S. Army Corps of Engineers	(  NJDEP-Bureau of Flood Plain Management

(Other Specify:  ___________________________________________________________________________________________

10.  I hereby certify that this information furnished on Form 1 of this application is true.  I am aware that false swearing is a crime in this State and subject to prosecution.

_______________________________________________________	              	             ________________________________________

Signature of Applicant						              Date

| FOR OFFICIALSE ONLY: | CCDH& HS REQUIREMENTS |  | FOR OFFICIAL USE, ONLY: |
| --- | --- | --- | --- |

12/2023 can

| Department of Health and Human Services Virginia Betteridge Commissioner Liaison Caryelle Lasher, MPH Director Paschal Nwako, Ph.D., MPH County Health Officer | www.camdencounty.com | Division of Environmental & Consumer Health Services DiPiero Center, Suite 305 512 Lakeland Road Blackwood, NJ 08012 Local Toll Free 1-800-999-9045 Main 856-374-6000 Septic & Well Unit 856-374-6064 Fax 856-374-6212 |
| --- | --- | --- |

FORM 2A

GENERAL SITE EVALUATION DATA

- Name of Site Evaluator (print): _________________________________________________________________

- Business Address of Site Evaluator: _____________________________________________________________

- Business Phone Number of Site Evaluator:  _______________________________________________________

- Special Site Limitations Identified (Check appropriate Categories):         Flood                  Bedrock

Outcrops         Wetlands         Excessively Stony            Disturbed Grounds        Sink Holes

Soil Logs -Enter Form 2b- Use one sheet for each soil log.

- Considerations Relating to Disturbed Ground:

- Type of Disturbance (Check appropriate categories:         Filled Area       Excavated Area      Re-graded Area        Subsurface Drains        Other -Specify ________________________________________________

- Pre-existing Natural Ground Surface Elevation relative to Existing Ground Surface _________________

______________________________ Method of Identification _____________________________________

- Suitability of Disturbed Ground         Unsuitable: Objects Subject to Disintegration or change in volume                     	Excessively Coarse       Proctor test performed _____ % Standard Proctor ______ Density =_______

- Hydraulic Head Test:

- Hydraulic Restrictive Horizon: Depth top to Bottom ____________________________________________

- Piezometer A:  Depth Bottom _____________ depth to Water level (24 hrs.) ________________________

- Piezometer B:  Depth Bottom ___________depth to Water level (24 hrs.) ___________________________

- Witnessed by ________________________ Signature ______________________ Date _____/_____/_____

- Attachments (Check items included):      Site Plan       Key Map Showing Location of Site on U.S.G.S.

Quadrangle or other Accurate Map      Key Map Showing Location of Site on U.S.D.A. Soil Survey Map

IMAP      Other -Specify _______________________________________________________________

- I hereby certify that the information furnished on Form 2A of this application (and the attachments thereto) is true and accurate.  I am aware that falsification of data is a violation of the Water Pollution Control (N.J.S.A. 58:10A-1 et seq.)

Signature of Soil Evaluator ________________________________________________ Date ______/______/_______

Signature of Professional Engineer ____________________________________    License # ____________________

12/2023 can

| Department of Health and Human Services Virginia Betteridge Commissioner Liaison Caryelle Lasher, MPH Director Paschal Nwako, Ph.D., MPH County Health Officer | www.camdencounty.com | Division of Environmental & Consumer Health Services DiPiero Center, Suite 305 512 Lakeland Road Blackwood, NJ 08012 Local Toll Free 1-800-999-9045 Main 856-374-6000 Septic & Well Unit 856-374-6064 Fax 856-374-6212 |
| --- | --- | --- |

FORM 2B

SOIL LOG AND INTERPRETATION

Block____________, Lot ____________, Municipality _______________________________________________________

Date Completed ______/_____/______ Witnessed by (Inspector) _______________________________________________

- Log Number _____________ Elevation (feet) _____________ Method (Check One):        Profile Pit             Boring

- Soil Log:

| Depth (inches) Top- Bottom | Munsel Color Name and Symbol; Estimated Textural Class: Estimated Volume % Coarse Fragment, if present; structure; Moist or Dry Consistence; Mottling-Abundance, Size and Contrast, if Present |
| --- | --- |

- Ground Water Observations:     Seepage-Indicate Depth      Pit/Boring      Flooded Depth 	____after ____hrs.

- Soil Limiting Zones (Check Appropriate Categories):          Excessively Coarse Horizon-Depth Top to Bottom

______-______      Excessively Coarse Substratum- Depth Top _________________________________________

Hydraulically Restrictive Horizon-Depth to Top to Bottom ____ - ____      Hydraulically Restrictive Substratum-

Depth 	 Regional Zone of Saturation-Depth to Top__________________________________________________

- Soil Suitability Classification: ____________________________________________________________________

- I on Hereby certify that the information furnished on Form 2b of this application is true and accurate. I am aware that falsification of data is a violation of the Water Pollution Control Act (N.J.S.A 58:10A-1 et seq.) and is subject to penalties as prescribed in N.J.A.C. 7:14-B.

Signature of Site Evaluator________________________________________ Date _______/________/_________

Signature of Professional Engineer _________________________________ License #______________________

12/2023 can

| Department of Health and Human Services Virginia Betteridge Commissioner Liaison Caryelle Lasher, MPH Director Paschal Nwako, Ph.D., MPH County Health Officer | www.camdencounty.com | Division of Environmental & Consumer Health Services DiPiero Center, Suite 305 512 Lakeland Road Blackwood, NJ 08012 Local Toll Free 1-800-999-9045 Main 856-374-6000 Septic & Well Unit 856-374-6064 Fax 856-374-6212 |
| --- | --- | --- |

FORM 3A

SOIL PERMEABILITY DATA

Municipality ___________________________________________, Block_________________, Lot___________________

Assign a number for each test and a letter replicate.  Show test data and calculations on Form 3b, 3c, 3d, or 3f.  Use one sheet for each separate test or test replicate

- Summary of Data-Enter data for each test replicate on separate line.

| Type of Test | Test (number) | Replicate (letter) | Depth (inches) | Result* |
| --- | --- | --- | --- | --- |

*For tube permeameter, pit-bailing and piezometer tests report results in inches per hour.  For Soil permeability class rating give soil permeability class number.  For percolation test report result in minutes per inch.   For basin flooding test report result as positive if basin drains completely within 24 hours after second filling, negative otherwise

- Design Permeability/Percolation Rate: ____________________ Specify Test Number _______________________

_____ Average of Test Replicates 	              _____ Single Replicate                 	_____ Slowest of Replicates

| Type of Limiting Zone Identified | Test Number |
| --- | --- |

- Attachments (check items included):

Form 3b-tube Permeameter Test Data-Number of Sheets_______

Form 3c-Soil Permeability Class Rating Test Data-Number of Sheets________

Form 3d -Percolation Test Data-Number-of Sheets _______

Form 3f -Piezometer Test Data-Number of Sheets ________

5. I on Hereby certify that the information furnished on Form 3A of this application is true and accurate. I am aware that

falsification of data is a violation of the Water Pollution Control Act (N.J.S.A 58:10A-1 et seq.) and is subject to

penalties as prescribed in N.J.A.C. 7:14-B.

Signature of Soil Evaluator _________________________________________________ Date ______/______/_______

Signature of Professional Engineer ________________________________________ License # ___________________

12/2023 can

| Department of Health and Human Services Virginia Betteridge Commissioner Liaison Caryelle Lasher, MPH Director Paschal Nwako, Ph.D., MPH County Health Officer | www.camdencounty.com | Division of Environmental & Consumer Health Services DiPiero Center, Suite 305 512 Lakeland Road Blackwood, NJ 08012 Local Toll Free 1-800-999-9045 Main 856-374-6000 Septic & Well Unit 856-374-6064 Fax 856-374-6212 |
| --- | --- | --- |

FORM 3B

TUBE PERMEAMETER TEST DATA

- Test Number________________     Replicate (Letter) _______________   Date Collected ______/______/_______

- Material Tested:           Fill   	Test in Native Soil- Indicate Depth, in inches ___________________________

- Type of Sample:           Undisturbed           Disturbed

- Sample Dimensions:

Inside Radius of Sample Tube, R, in cm_________________ Length of Sample, L, in inches _________________

- Bulk Density Determination (Disturbed Samples Only):

Sample Weight (Wt. Tube Containing Sample Tube-Wt. of Empty Tube), grams _______________________

Sample Volume (L x 2.54cm./inch x 3.14R 2). cc_________________________________________________

Bulk Density (Sample Wt./Sample Volume), grams/cc_____________________________________________

- Standpipe Used:           No                          Yes-Indicate Internal Radius, cm________________________________

- Height of Water Level Above Rim of Test Basin, in inches:

At the Beginning of each Test Interval, H1______________ At the End of Each Test Interval, H2 ______________

- Rate of water Level Drop (Add additional lines if needed):

| Time, Start of Test Interval, t1 | Time, End of Test Interval, t2 | Length of Test interval, t, minutes |
| --- | --- | --- |

- Calculation of Permeability: K, (in/hr) = 60 min/hr x r 2/r2 X L (in)t(min) X In (H1H2) =

60 min/hr. x _________/_________x_________/________x in (_________/__________) = __________________

- Defects in the Sample (Check appropriate items): 	None 	 Cracks 	   Worm Channels     Root

Channels        Soil/Tube Contact       Large Gravel      Large Roots        Dry Soil 	     S mearing

11. I on Hereby certify that the information furnished on Form 3b of this application is true and accurate. I am aware

that falsification of data is a violation of the Water Pollution Control Act (N.J.S.A 58:10A-1 et seq.) and is subject

to penalties as prescribed in N.J.A.C. 7:14-B.

Signature of Soil Evaluator ________________________________________________ Date ______/______/_______

Signature of Professional Engineer _____________________________________ License # _____________________

12/2023 can

| Department of Health and Human Services Virginia Betteridge Commissioner Liaison Caryelle Lasher, MPH Director Paschal Nwako, Ph.D., MPH County Health Officer | www.camdencounty.com | Division of Environmental & Consumer Health Services DiPiero Center, Suite 305 512 Lakeland Road Blackwood, NJ 08012 Local Toll Free 1-800-999-9045 Main 856-374-6000 Septic & Well Unit 856-374-6064 Fax 856-374-6212 |
| --- | --- | --- |

FORM 4

GENERAL DESIGN DATA

- Volume of Sanitary Sewage, gal _____________ Garbage Disposal Unit-   	                    Yes 		       No

Residential: No.  of Dwelling Units ______________________ Total No. of Bedrooms ______________________

Commercial/Institutional-indicate type of establishment and show method of calculation.  If estimate is based on 	water meter data, indicate source of data, frequency of readings, average daily flow, and maximum recorded daily 	reading______________________________________________________________________________________

- Alteration or Repairs a) reason for Alteration Repairs (Check appropriate categories):

Expansion or Change in Use		Upgraded Existing Facilities	     Correct Malfunctioning System

Other-Specify__________________________ b) Describe Nature of Alteration or Repairs_________________

____________________________________________________________________________________________

3.	System Components:

a) Grease Trap Capacity, gals ________________________ Show Calculation Used: ________________________

b) Septic Tank Capacities, gals _______________________ First (Single) Compartment _____________________

Second Compartment ____________________________ Third Compartment ___________________________

c) Effluent Distribution Method:       Gravity Flow         Gravity Dosing        Pressure Dosing             Dosing Device

Pump            Siphon

d) Dosing Tank Capacities, gals Total Capacity _______ Dose Volume (Vd) _______ Reserve Capacity ________

e) Laterals: Number __________ Total Length ft._________ Pipe Diameter, in __________ Spacing ft. _________

f) Connecting Pipe: Diam., in ________ Length ft. ________ Pipe Diameter, in _________ Length, ft. __________

g) Manifold: Diam., in ________________________________ Length ___________________________________

h) Disposal Field: Design Permeability Percolation Rate:

Trenches: Width., ft.______________ Total Length., ft. _____________      Bed: Area. Sq., ft.____________

i) Seepage Pits: Design Percolation Rate ________________________ Number of Pits ______________________

4. Attachments (check items included):     General Plan of Systems Showing Location of All System      Components X-

Sections of Each System Component Including Grease Trap, Septic Tank, Dosing Tank, Disposal Field, Seepage Pits

and Interceptor Drains      Pump Performance Curve

5. I on Hereby certify that the information furnished on Form 4 of this application is true and accurate. I am aware 	that falsification of data is a violation of the Water Pollution Control Act (N.J.S.A 58:10A-1 et seq.) and is subject 	to penalties as prescribed in N.J.A.C. 7:14-B.

Signature of Soil Evaluator ________________________________________________ Date ______/______/_______

12/2023 can

| Department of Health and Human Services Virginia Betteridge Commissioner Liaison Caryelle Lasher, MPH Director Paschal Nwako, Ph.D., MPH County Health Officer | www.camdencounty.com | Division of Environmental & Consumer Health Services DiPiero Center, Suite 305 512 Lakeland Road Blackwood, NJ 08012 Local Toll Free 1-800-999-9045 Main 856-374-6000 Septic & Well Unit 856-374-6064 Fax 856-374-6212 |
| --- | --- | --- |

FORM 5

DESIGN OF PRESSURE DOSING SYSTEM

- Configuration of Distribution Network:  Type Manifold        E   End         		Central Distribution

Laterals: Number ___________________ length, ft. ____________________ Diameter, in ___________________

Tot. lateral Vol (V1) gals ___________________________________________________________________________________________

Hole Diameter, in ______________ Hole Spacing, in ______________ Number of Laterals, n _____________________

- Lateral Discharge Rate: Design Pressure Head at Distal End of Laterals (Hp). ft. _____________________________

Hole Discharge Rate, Q, gpm ___________________ Number of Holes per Lateral, n _______________________

Lateral Discharge Rate, (Q x n) gpm _______________________________________________________________

- Manifold length, ft. _____________ Manifold Diameter, in ____________, Total Manifold Vol. (Vm) _____________

4.  System Discharge Rate, gpm______________________________________________________________________

5.  Dose Volume: Daily Volume of Sewage (Q). gpd _________________ Design Permeability, in/hr _______________

or Percolation Rate, min/in __________________ Total Volume of Delivery Pipe (Vp) _______________________

Internal Volume of Distribution Network (V), (Vp)+Vm+Vl) _________ Dose Volume (Vd) ____________________

6a.	Pump Selection: Length of Delivery Pipe, ft. _________________ Diameter of Delivery Pipe, in ________________

Friction Loss in Delivery Pipe (Hf, ft. _____________ Elevation of Dosing Tank Low Water Level ______________

Elevation of Lateral Invert _________________________ Elevation Head (He), ft. __________________________

Total Operating Head (Ht) (Hp) + (Hf) (He), ft. ____________________________ Pump Model _____________________________

Rated Horse Power ________ Pump Discharge Rate at Total Operating Head, gpm ___________________________

6b.	Siphon Elevation: Pipe Hf, ft. ____________________________ Length of deliver Pipe ______________________

Friction Loss in Delivery pipe, Hf, ft. _____________________ Velocity Head, Hn, ft. ________________________

Total Operating Head (Ht) (Hp + Hf +Hn), ft. _________________ Elevation Lateral Invert ___________________

Elevation of Siphon Invert _______________________________________________________________________

7. 	I Hereby certify that the information furnished on Form 5 of this application is true and accurate. I am 	aware that falsification of data is a violation of the Water Pollution Control Act (N.J.S.A 58:10A-1 et seq.) 	and is subject to penalties as prescribed in N.J.A.C. 7:14-B

Signature of Professional Engineer ___________________________________ Date _______/______/_______

12/2023 can